# Best Management Practice Inspection Job Aid: Soil Stabilization

This job aid is a tool to assist with the completion of Form 2118. All required corrective actions, comments, or discussions must be documented on Form 2118.

Review each criterion below. For each item, check the box or mark an “X” next to the appropriate response to indicate the compliance status: Yes (Y), No (N), or Not Applicable (NA) to indicate the compliance status.

Yes – The requirement has been met.

No – The requirement has not been met.

Not Applicable – The requirement does not apply to this project or site conditions.

## Installation criteria

- Have the soil stabilization locations been documented in the

- Stormwater Pollution Prevention Plan (SWP3) Layout Sheets?	☐Y   ☐N   ☐NA

- Have all site characteristics been evaluated to determine the

- appropriate method of stabilization? (For example, soil type,

- slope, flow direction)?	☐Y   ☐N   ☐NA

- If applicable, are appropriate Safety Data Sheets available at

- the site?	☐Y   ☐N   ☐NA

- Are soil stabilization materials being stored in accordance with

- manufacturer specifications?	☐Y   ☐N   ☐NA

- Are soil stabilization materials being applied in accordance with

- manufacturer specifications?	☐Y   ☐N   ☐NA

- Is the stabilized area situated to limit vehicle and equipment

- traffic, if needed?	☐Y   ☐N   ☐NA

## Inspection criteria

- If construction activities are ceasing for more than 14 calendar

- days in an area or phase of the project, has the soil been

- temporarily or permanently stabilized?	☐Y   ☐N   ☐NA

- Is soil stabilization being initiated immediately following the final

- soil disturbing activities?	☐Y   ☐N   ☐NA

- Has any erosion occurred near the soil stabilization?	☐Y   ☐N   ☐NA

- Is standing or pooling water present?	☐Y   ☐N   ☐NA

- Is exposed soil visible after soil stabilization?	☐Y   ☐N   ☐NA

- Are additional Best Management Practices (BMPs) needed to

- further prevent erosion?	☐Y   ☐N   ☐NA

- Were any concerns identified with the soil stabilization?	☐Y   ☐N   ☐NA

- Were maintenance requirements recommended to the contractor?	☐Y   ☐N   ☐NA

## Maintenance criteria

- Are soil stabilization areas in good condition without any visible

- damage or exposed soil?	☐Y   ☐N   ☐NA

- Have exposed soils within the stabilized area been repaired?	☐Y   ☐N   ☐NA

- Have damage or eroded areas of the stabilized soil been repaired

- or addressed?	☐Y   ☐N   ☐NA

- Did the contractor address all recommended maintenance needs?	☐Y   ☐N   ☐NA

- Were any additional BMPs recommended to the Contractor?	☐Y   ☐N   ☐NA

Comments and Notes

[Enter comments and notes]

## References

Texas Pollutant Discharge Elimination System (TPDES) Construction General Permit TXR150000, Part III Section F